## CPN Portfolio 3.31.18
Table of Operating Power Plants and Projects Under Construction and Advanced Development as of March 31, 2018
[7 empty] | Calpine Net | Calpine Net
|  |  |  | U.S. State or |  | Calpine | Interest | Interest With
|  |  | NERC | Canadian |  | Interest | Baseload | Peaking
| SEGMENT /Power Plant |  | Region | Province | Technology | Percentage | (MW) (1)(3) | (MW) (2)(3) |  |  | Count of Plants
| WEST | [7 empty] | Count
Geothermal
| McCabe #5 & #6 |  | WECC | CA | Renewable | 100% | 84 | 84 | 1 |  | 1
| Ridge Line #7 & #8 |  | WECC | CA | Renewable | 100% | 76 | 76 | 2 |  | 2
| Calistoga |  | WECC | CA | Renewable | 100% | 69 | 69 | 3 |  | 3
| Eagle Rock |  | WECC | CA | Renewable | 100% | 68 | 68 | 4 |  | 4
| Big Geysers |  | WECC | CA | Renewable | 100% | 61 | 61 | 5 |  | 5
| Lake View |  | WECC | CA | Renewable | 100% | 54 | 54 | 8 |  | 6
| Quicksilver |  | WECC | CA | Renewable | 100% | 53 | 53 | 6 |  | 7
| Sonoma |  | WECC | CA | Renewable | 100% | 53 | 53 | 12 |  | 8
| Cobb Creek |  | WECC | CA | Renewable | 100% | 51 | 51 | 7 |  | 9
| Socrates |  | WECC | CA | Renewable | 100% | 50 | 50 | 9 |  | 10
| Sulphur Springs |  | WECC | CA | Renewable | 100% | 47 | 47 | 10 |  | 11
| Grant |  | WECC | CA | Renewable | 100% | 41 | 41 | 11 |  | 12
| Aidlin |  | WECC | CA | Renewable | 100% | 18 | 18 | #REF! |  | 13
Natural Gas-Fired
| Delta Energy Center |  | WECC | CA | Combined Cycle | 100% | 835 | 857 | #REF! |  | 14
| Pastoria Energy Facility |  | WECC | CA | Combined Cycle | 100% | 770 | 749 | #REF! |  | 15
| Hermiston Power Project |  | WECC | OR | Combined Cycle | 100% | 566 | 635 | #REF! |  | 16
| Otay Mesa Energy Center |  | WECC | CA | Combined Cycle | 100% | 513 | 608 | #REF! |  | 17
| Metcalf Energy Center |  | WECC | CA | Combined Cycle | 100% | 564 | 605 | #REF! |  | 18
| Sutter Energy Center |  | WECC | CA | Combined Cycle | 100% | 542 | 578 | #REF! |  | 19
| Los Medanos Energy Center |  | WECC | CA | Cogen | 100% | 518 | 572 | #REF! |  | 20
| South Point Energy Center(4) |  | WECC | AZ | Combined Cycle | 100% | 520 | 530 | #REF! |  | 21
| Russell City Energy Center |  | WECC | CA | Combined Cycle | 75% | 429 | 464.25 |  |  | 22
| Los Esteros Critical Energy Facility |  | WECC | CA | Combined Cycle | 100% | 243 | 309 | 6 |  | 23
| Gilroy Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 141 | #REF! |  | 24
| Gilroy Cogeneration Plant |  | WECC | CA | Cogen | 100% | 109 | 130 | #REF! |  | 25
| King City Cogeneration Plant |  | WECC | CA | Cogen | 100% | 120 | 120 | #REF! |  | 26
| Wolfskill Energy Center(4) |  | WECC | CA | Simple Cycle | 100% | 0 | 48 | #REF! |  | 27
| Yuba City Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 28
| Feather River Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 29
| Creed Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 30
| Lambie Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 31
| Goose Haven Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 32
| Riverview Energy Center |  | WECC | CA | Simple Cycle | 100% | 0 | 47 | #REF! |  | 33
| King City Peaking Energy Center(4) |  | WECC | CA | Simple Cycle | 100% | 0 | 44 | #REF! |  | 34
| Agnews Power Plant |  | WECC | CA | Combined Cycle | 100% | 28 | 28 | #REF! |  | 35
| Subtotal | [5 empty] | 6482 | 7425.25 | #REF!
TEXAS
| Deer Park Energy Center |  | TRE | TX | Cogen | 100% | 1103 | 1204 |  |  | 36
| Guadalupe Energy Center |  | TRE | TX | Combined Cycle | 100% | 1009 | 1000 |  |  | 37
| Baytown Energy Center |  | TRE | TX | Cogen | 100% | 810 | 896 | #REF! |  | 38
| Channel Energy Center |  | TRE | TX | Cogen | 100% | 723 | 808 | #REF! |  | 39
| Pasadena Power Plant(5) |  | TRE | TX | Cogen/Combined Cycle | 100% | 763 | 781 | #REF! |  | 40
| Bosque Energy Center |  | TRE | TX | Combined Cycle | 100% | 740 | 762 |  |  | 41
| Freestone Energy Center |  | TRE | TX | Combined Cycle | 75% | 779 | 746 | #REF! |  | 42
| Magic Valley Generating Station |  | TRE | TX | Combined Cycle | 100% | 682 | 712 | #REF! |  | 43
| Jack A. Fusco Energy Center(6) |  | TRE | TX | Combined Cycle | 100% | 523 | 609 | #REF! |  | 44
| Corpus Christi Energy Center |  | TRE | TX | Cogen | 100% | 426 | 500 | #REF! |  | 45
| Texas City Power Plant |  | TRE | TX | Cogen | 100% | 400 | 453 | #REF! |  | 46
| Hidalgo Energy Center |  | TRE | TX | Combined Cycle | 78.5% | 397 | 379 | #REF! |  | 47
| Freeport Energy Center(7) |  | TRE | TX | Cogen | 100% | 210 | 236 | #REF! |  | 48
| Subtotal | [5 empty] | 8565 | 9086 | #REF!
EAST
| Bethlehem Energy Center |  | RFC | PA | Combined Cycle | 100% | 1062 | 1130 |  |  | 49
| Hay Road Energy Center |  | RFC | DE | Combined Cycle | 100% | 1039 | 1130 | #REF! |  | 50
| Morgan Energy Center |  | SERC | AL | Cogen | 100% | 720 | 807 | #REF! |  | 51
| Fore River Energy Center |  | NPCC | MA | Combined Cycle | 100% | 750 | 731 |  |  | 52
| Edge Moor Energy Center |  | RFC | DE | Steam Cycle | 100% | 0 | 725 | #REF! |  | 53
| Granite Ridge Energy Center |  | NPCC | NH | Combined Cycle | 100% | 745 | 695 |  |  | 54
| York Energy Center |  | RFC | PA | Combined Cycle | 100% | 518.5 | 565 | #REF! |  | 55
| Westbrook Energy Center |  | NPCC | ME | Combined Cycle | 100% | 552 | 552 |  |  | 56
| Greenfield Energy Centre(8) |  | NPCC | ON | Combined Cycle | 50% | 422 | 519 | #REF! |  | 57
| RockGen Energy Center |  | MRO | WI | Simple Cycle | 100% | 0 | 503 | #REF! |  | 58
| Zion Energy Center |  | RFC | IL | Simple Cycle | 100% | 0 | 503 | #REF! |  | 59
| Garrison Energy Center |  | RFC | DE | Combined Cycle | 100% | 273 | 309 |  |  | 60
| Pine Bluff Energy Center |  | SERC | AR | Cogen | 100% | 184 | 215 | #REF! |  | 61
| Cumberland Energy Center |  | RFC | NJ | Simple Cycle | 100% | 0 | 191 | #REF! |  | 62
| Kennedy International Airport Power Plant |  | NPCC | NY | Cogen | 100% | 110 | 121 | #REF! |  | 63
| Auburndale Peaking Energy Center(4) |  | FRCC | FL | Simple Cycle | 100% | 0 | 117 | #REF! |  | 64
| Sherman Avenue Energy Center |  | RFC | NJ | Simple Cycle | 100% | 0 | 92 | #REF! |  | 65
| Bethpage Energy Center 3 |  | NPCC | NY | Combined Cycle | 100% | 60 | 80 | #REF! |  | 66
| Carll's Corner Energy Center |  | RFC | NJ | Simple Cycle | 100% | 0 | 73 | #REF! |  | 67
| Mickleton Energy Center |  | RFC | NJ | Simple Cycle | 100% | 0 | 67 | #REF! |  | 68
| Bethpage Power Plant |  | NPCC | NY | Combined Cycle | 100% | 55 | 56 | #REF! |  | 69
| Christiana Energy Center |  | RFC | DE | Simple Cycle | 100% | 0 | 53 | #REF! |  | 70
| Bethpage Peaker |  | NPCC | NY | Simple Cycle | 100% | 0 | 48 | #REF! |  | 71
| Stony Brook Power Plant |  | NPCC | NY | Cogen | 100% | 45 | 47 | #REF! |  | 72
| Tasley Energy Center |  | RFC | VA | Simple Cycle | 100% | 0 | 33 | #REF! |  | 73
| Whitby Cogeneration(9) |  | NPCC | ON | Cogen | 50% | 25 | 25 | #REF! |  | 74
| Delaware City Energy Center |  | RFC | DE | Simple Cycle | 100% | 0 | 23 | #REF! |  | 75
| West Energy Center |  | RFC | DE | Simple Cycle | 100% | 0 | 20 | #REF! |  | 76
| Bayview Energy Center |  | RFC | VA | Simple Cycle | 100% | 0 | 12 | #REF! |  | 77
| Crisfield Energy Center |  | RFC | MD | Simple Cycle | 100% | 0 | 10 | #REF! |  | 78
| Vineland Solar Energy Center |  | RFC | NJ | Renewable | 100% | 0 | 4 | #REF! |  | 79 | Total number of plants
| Subtotal | [5 empty] | 6560.5 | 9456 | #REF! | Total count of pwr plants
| Total operating power plants | 79 |  |  |  |  | 21607.5 | 25967.25
Projects Under Construction and Advanced Development
Projects under construction
| York 2 Energy Center |  | RFC | PA | Combined Cycle | 100% | 668 | 828 | #REF!
Projects under advanced development
| Washington Parish Energy Center (10) |  | SERC | LA | Simple Cycle | 100% | 0 | 361
| Bluestone Wind Farm (11) |  | NPCC | NY | Renewable | 100% | 124 | 124
| Total operating power plants and projects under construction and advanced development | [5 empty] | 22399.5 | 27280.25
-1 | Natural gas-fired fleet capacities are generally derived on as-built as-designed outputs, including upgrades, based on site specific annual average temperatures and average process steam flows for cogeneration power plants, as applicable. Geothermal capacities are derived from historical generation output and steam reservoir modeling under average ambient conditions (temperatures and rainfall). Wind capacities are based on nameplate capacity.
-2 | Natural gas-fired fleet peaking capacities are primarily derived on as-built as-designed peaking outputs based on site specific average summer temperatures and include power enhancement features such as heat recovery steam generator duct-firing, gas turbine power augmentation, and/or other power augmentation features. For certain power plants with definitive contracts, capacities at contract conditions have been included. Oil-fired capacities reflect capacity test results.
-3 | These outputs do not factor in the typical MW loss and recovery profiles over time, which natural-gas fired turbine power plants display associated with their planned major maintenance schedules.
-4 | We suspended operations to assess the future of these facilities.
-5 | Pasadena is comprised of 260 MW of cogen technology and 521 MW of combined cycle (non-cogen) technology.
-6 | Formerly our Brazos Valley Power Plant, which was renamed in December 2017.
-7 | Freeport Energy Center is owned by Calpine; however, it is contracted and operated by The Dow Chemical Company.
-8 | Calpine holds a 50% partnership interest in Greenfield LP through its subsidiaries; however, it is operated by a third party.
-9 | Calpine holds a 50% partnership interest in Whitby Cogeneration through its subsidiaries; however, it is operated by Atlantic Packaging Products Ltd.
-10 | A third party will purchase a 100% ownership interest in this power plant upon achieving commercial operation.
-11 | Once construction is complete, the wind facility will sell all of the RECs associated with the power produced to a third party under a 20-year renewable energy credit sales agreement.